Honeywell BW Clip Series Single-Gas Detector BWC2-H

The Honeywell BW Clip Series 2-Year Single Gas Detector is a compact, maintenance-free personal safety sensor designed for reliable gas monitoring in hazardous work environments. It delivers up to 2 years of continuous operation with no need for battery charging, sensor replacement, or calibration — simply turn it on and go. The detector features automatic self-testing, one-button operation, and multi-mode alarms (audible, visual, vibrating) for instant alerts. With rugged construction, IP66/67 protection, and compatibility with Honeywell’s IntelliDoX and Safety Suite systems, it’s ideal for energy, manufacturing, and other industrial settings.

Specifications:

- Gas Type: H2S, CO, O2, LEL, SO2

- Sensor Range: CO: 0-300 ppm

H2S: 0-100 ppm

SO2: 0-100 ppm

O2: 0 - 25.0 % by vol.

- Warranty:  Full two-year warranty including all sensors

Honeywell BW Clip Series Single-Gas Detector BWC3-H

Ensure continuous personal safety in hazardous environments with the Honeywell BW Clip Series single-gas detector — a compact, lightweight, maintenance-free solution designed for everyday use. This rugged detector delivers up to three years of continuous operation once activated, with no need for sensor or battery replacement, calibration, or charging — helping reduce downtime and total cost of ownership.

Featuring an automated self-test, wide-angle alarm flash, audible and vibrating alerts, and compatibility with Honeywell’s IntelliDoX management system, the BW Clip Series offers reliable gas detection and easy compliance tracking. Ideal for industries such as energy, manufacturing, and government sectors, it’s the smart choice for effective single-gas monitoring and worker protection.

Specifications:

- Gas Type: H2S, CO

- Sensor Range: CO: 0-300 ppm

H2S: 0-100 ppm

- Warranty:  Full three-year warranty including all sensors

Honeywell BW Solo Single-Gas Detector

Ensure worker safety in hazardous environments with the Honeywell BW Solo single-gas detector — a lightweight, easy-to-service personal gas monitor designed for everyday industrial use. With Bluetooth Low Energy (BLE) connectivity, real-time visibility, and seamless data integration through Honeywell’s Safety Suite software, the Solo helps companies respond quickly and confidently to potential gas hazards while simplifying compliance and reporting.

Key features include a user-friendly interface, multilingual display, easy sensor/battery replacement, and compatibility with the Honeywell IntelliDoX docking system. Capable of detecting up to 15 common and specialty gases, this detector offers long-term cost savings through serviceability and dependable performance across energy, manufacturing, and utilities applications.

Specifications:

- Gas Type: H2S, CO, O2, Cl2, ClO2, ETO, H2, HCN, NH3, NO, NO2, O3, PH3, SO2

- Sensor Range:

- H2S (0-200ppm)

- CO (0-2000ppm)

- O2 (0-30%vol)

- Cl2 (0-50ppm)

- ClO2 (0-1ppm)

- ETO (0-100ppm)

- H2 (0-1000ppm)

- HCN (0-100ppm)

- NH3 (0-1000ppm)

- NO (0-250ppm)

- NO2 (0-100ppm)

- O3 (0-1ppm)

- PH3 (0-5ppm)

- SO2 (0-100ppm)

- Warranty:  3 years for 1-Series detectors and sensors (H2S, CO, O2, CO2)

2 years for 4-Series detectors and sensors

(1 year for NH3, Cl2, O3, ETO, ClO2, HCI, HF sensors)

Honeywell BW MicroClip XL Multi-gas Detector

Keep workers safe in demanding industrial environments with the Honeywell BW MicroClip XL — a compact, rugged multi-gas detector designed for continuous personal protection. This unit simultaneously monitors four key gases — oxygen (O₂), carbon monoxide (CO), hydrogen sulfide (H₂S), and combustible gases (% LEL) — giving real-time awareness of hazardous atmospheres on the job.

Built for ease of use with one-button operation, a clear LCD display of gas levels, and bright audible/visual/vibrating alarms, the MicroClip XL delivers reliable performance with up to 18 hours of runtime on a single charge and robust IP68 water and dust protection for tough conditions.

Device management and compliance reporting are simple with Honeywell SafetySuite software and compatibility with IntelliDoX docking stations. Ideal for energy, manufacturing, utilities, and confined-space entry work, the MicroClip XL is trusted for everyday gas hazard detection and worker safety.

Specifications:

- Gases Detected: CO, H₂S, O₂, Combustible (% LEL)

- Number of Sensors: 4

- Sensor Ranges: 
• CO: 0–500 ppm
• H₂S: 0–100 ppm
• O₂: 0–30 % vol
• Combustible: 0–100 % LEL / 0–5.0 % v/v

- Weight: ~190 g

- Dimensions: ~11.3 × 6.0 × 3.2 cm

- Display: LCD with real-time gas concentrations

- Battery: Rechargeable battery with ~18 h runtime (≈ 6 h charge)

- Alarms: Audible (≈ 95 dB), visual, vibrating

- Ingress Protection: IP68 water & dust resistance

- Operating Temp: –20 °C to +50 °C

- Humidity: 0 – 95 % RH (non-condensing)

- Certifications: ATEX, IECEx, CE, CSA (Class I Div 1 A/B/C/D)

- Datalogging: Up to 16 h @ 15 sec intervals

- Wireless: BLE support for device-level connectivity

- Warranty: Full two-year warranty including all sensors

Honeywell BW MicroClip X3 Multi-gas Detector

The Honeywell BW MicroClip X3 is a rugged, wearable 4-gas portable detector that delivers reliable personal safety monitoring in demanding industrial environments. Designed for simultaneous detection of oxygen (O₂), combustible gases (% LEL), hydrogen sulfide (H₂S), and carbon monoxide (CO), it features a compact, ergonomic one-button design, intuitive LCD readout, and bright audible/visual/vibration alarms. With IP68 water and dust resistance, 18-hour battery life, and a 3-year warranty including a long-life oxygen sensor, the X3 is built for continuous daily use while simplifying compliance and device management with Honeywell’s SafetySuite and IntelliDoX connectivity.

Specifications

- Gases Detected:
• Oxygen (O₂): 0–30.0 % vol
• Combustible gases (% LEL): 0–100 % LEL / 0–5.0 % v/v
• Hydrogen Sulfide (H₂S): 0–100 ppm
• Carbon Monoxide (CO): 0–500 ppm

- Sensor Type & Life: Long-life sensors with expected 5-year service lifetime (O₂ sensor included)

- Battery / Runtime: Rechargeable lithium polymer — ~18 hours typical runtime; recharges in ≲ 6 hours

- Alarms: Audible (~95 dB), visual, and vibrating; low/high/TWA/STEL/OL alarm setpoints

- Display: Continuous LCD with real-time gas readings

- Ingress Protection: IP68 (water & dust resistant)

- Dimensions: ~11.3 × 6.0 × 3.2 cm / 4.4 × 2.4 × 1.2 in

- Weight: ~179 g / 6.3 oz

- Operating Temp: –20 °C to +50 °C (–4 °F to 122 °F)

- Humidity: 0–95 % RH (non-condensing)

- Wireless & Software: BLE connectivity; compatible with Honeywell SafetySuite device management and IntelliDoX automatic test/calibration stations

- Certifications: ATEX, IECEx, CSA Class I Div. 1 Groups A, B, C, D, CE conformity

- Warranty: Full three-year warranty including all sensors

Honeywell BW Max XT II Multi-gas Detector

The Honeywell BW Max XT II Multi-Gas Detector is a rugged, reliable portable gas monitor built to keep workers safe in hazardous environments. Designed for simultaneous detection of four key gases — oxygen (O₂), combustible gases (% LEL), hydrogen sulfide (H₂S), and carbon monoxide (CO) — it features one-button operation, an integrated SmartSample pump for remote sampling, and continuous LCD readouts of gas levels. With IntelliFlash visual compliance indication, standard datalogging, and compatibility with Honeywell’s MicroDock II automated test/calibration system, this unit delivers dependable performance for confined-space entry, utilities, oil & gas, and general industrial applications while streamlining safety management and compliance.

Specifications

- Gases Detected:

- Oxygen (O₂)

- Combustible gases (% LEL) / 0–5.0 % v/v

- Hydrogen Sulfide (H₂S)

- Carbon Monoxide (CO)

- Sensor Ranges & Resolution

- H₂S: 0–200 ppm (1 ppm)

- CO: 0–1000 ppm (1 ppm)

- O₂: 0–30.0 % (0.1 %)

- Combustible: 0–100 % LEL / 0–5.0 % v/v (1 % / 0.1 %)

- Physical / Environmental

- Size: ~13.1 × 7.0 × 5.2 cm (5.1 × 2.8 × 2.0 in)

- Weight: ~328 g (11.5 oz)

- Operating Temperature: –20 °C to +50 °C (–4 °F to 122 °F)

- Humidity: 10 – 100 % RH (non-condensing)

- Alarms & Indicators

- Audible (95 dB), visual, vibrating alarms

- Settable thresholds: Low, High, STEL, TWA, OL (Over Limit), low battery, pump alerts

- Bright wide-angled visual alarm bars

- IntelliFlash™ continuous visual compliance indicator

- Display & Logging

- Continuous LCD shows real-time gas concentrations

- Standard datalogging and event logging (~375 h @ 15 s intervals)

- Battery & Pump

- Rechargeable battery (~13 h @ 0 °C / ~8 h @ –20 °C)

- Recharges in ~6 h

- Integrated SmartSample motorized pump (can draw samples from up to ~23 m / 75 ft)

- Durability & Compliance

- Water-resistant (IP66/67 rated)

- Built-in concussion-proof boot

- Compatible with MicroDock II automated calibration/test system

- Multi-language support (English, French, German, Spanish, Portuguese)

- Certifications: ATEX, IECEx, UL Class I Div. 1 Groups A/B/C/D, etc.

Honeywell BW Ultra Multi-Gas Detector

The Honeywell BW™ Ultra Multi-Gas Detector is a rugged, portable gas monitor engineered for confined space air sampling and safety checks. Designed with intuitive operation, fast-responding sensors, and robust construction, the BW Ultra simultaneously detects multiple hazardous gases and helps workers make informed decisions quickly. With built-in Bluetooth connectivity, long battery life, and comprehensive datalogging, it’s ideal for industrial safety teams, energy facilities, water treatment plants, and other heavy-duty environments requiring reliable multi-gas detection.

Specifications:

- Sensor Range:

- O₂ (0–25%)

- LEL (0–100%LEL)

- H₂S (0–100 ppm)

- CO (0–2000 ppm)

- SO₂ (0–100 ppm)

- H₂ (0–2000 ppm)

- CO₂ (0–50 000 ppm)

- NH₃ (0–100 ppm)

- VOC (0–1000 ppm)

- Cl₂ (0–20 ppm)

- NO₂ (0–50 ppm)

- HCN (0–100 ppm)

- NO (0–200 ppm)

- Infrared (IR) sensor option included

- Humidity Range: 5–95% RH (non-condensing)

- Operating Temperature: -20 °C to 50 °C (-4 °F to 131 °F)

- Alarm Types: Audible (95 dB), visual, vibrating

- Alarm Settings: Low, High, STEL, TWA, OL (Over Limit)

- Typical Battery Life: 14–18 hours (varies with sensor configuration)

- Batteries included

- Capable of datalogging up to 45 days based on 8-hour shifts at 15-second intervals

- Built-in pump with sampling draw up to 75 ft (23 m)

- Ingress Protection: IP66/IP68

- Certified to ATEX, IECEx, CE, and UL (Class I, Div.1 / Zone 0) standards

- Stores 30 alarm events and 10 bump events

BW Icon

Features and Benefits:

- Two months of battery runtime on a 4.5-hour charge

- Compatible with the IntelliDoX instrument management system and Honeywell Safety Suite and with TouchConnect™ using Bluetooth® for wireless configuration

- Low-power infrared LEL sensor is immune to silicone poisoning, which means accurate monitoring of combustibles.

- The IntelliFlash™ green light indicates when the detector is complying, and the amber light indicates the need for maintenance.

- Responsive and easy to use

Specifications:

- Size: (4.29 in x 2.44 in x1.7 in) with Alligator Clip

(4.29 in x 2.44 in x 1.49 in) with Klick Fast Stud

- Weight: 6.5 oz. / 185 g (Alligator Clip)

6 oz. / 169 g (Klick Fast Stud)

- Temperature:  -20 to +50° C

- Sensor Range: CO – 0 to 2000 ppm

H2S – 0 to 200 ppm

SO2 – 0 to 150 ppm

O2 – 0 to 30% VOL

NDIR-CH4 – 0 to 100% LEL

- Warranty: Two-year warranty for sensors and detector

BW Clip 4

Features and Benefits:

- Durable, ergonomic and wearable

- Compact

- Simple one-button operation

- User-friendly

- Tamper-proof operation with just one button

- Intuitive LCD icons

- Real-time gas concentrations shown on LCD

- Fully functional sensors, battery status, circuit integrity and audible visual alarms

- Compatible with IntelliDox

- Built-in concussion proof boot

- Can last in extreme environments

Specifications:

- Size: 12.0 x 6.8 x 3.2 cm / 4.7 x 2.7 x 1.3 in.

- Weight: 233 g / 8.2 oz

- Temperature: −20°C to 55°C for CH4

−40°C to +55°C for CO, O2, H2S

- Sensor Range: CO – 0-1000 ppm

H2S – 0 to 100 ppm

O2 – 0 to 25% VOL

LEL – 0 to 100% LEL

- Warranty: Full two-year warranty including sensors and battery

BW Flex

Features and Benefits:

- Real-time gas readings at a glance

- Intelligent sensors for increased safety & uptime

- Simplified gas reporting and analysis

Specifications:

- Size: (4.29 in × 2.44 in × 1.7 in) with Alligator Clip

(4.29 in × 2.44 in × 1.49 in) with Klick Fast Stud

- Weight: With Catalytic LEL: 189 g (6.7 oz) with Alligator Clip, 173 g (6.1 oz) with Klick Fast Stud

With IR LEL: 186 g (6.6 oz) with Alligator Clip, 170 g (6.0 oz) with Klick Fast Stud

- Temperature: -40°C to 60°C and -20°C to 60°C

- Warranty: Three years