The TPG-700A Taper Gauge by NIIGATA SEIKI is a high-precision measuring tool designed for checking slot widths, gaps, and internal clearances in mechanical components. Featuring a tapered profile with clearly marked graduations, this stainless-steel gauge delivers quick and accurate measurements — perfect for quality control, maintenance, and fabrication work.

Key Features & Benefits

- Accurate Taper-Based Measurement — Uses a tapered blade with graduated markings to measure widths from narrow gaps up to larger openings with precision.

- Durable Stainless Steel — Constructed from hardened stainless steel (SUS420J2) with a satin finish for rust resistance and long service life in workshop environments.

- Clear Graduation — 0.1 mm scale ensures easy and reliable reading for gap measurement.

- Compact & Portable — Lightweight and compact design makes it convenient for on-the-go use in the field or on the shop floor.

- Versatile Applications — Ideal for inspecting slots, grooves, clearances, and hole diameters in machinery, tooling, and quality control tasks.

Specifications

| Specification | TPG-700A |
| --- | --- |
| Measurement Range | 1 – 15 mm |
| Graduation | 0.1 mm |
| Accuracy | ± 0.05 mm |
| Taper Angle | 7° 9′ 10″ |
| Material | Hardened Stainless Steel (SUS420J2) |
| Overall Length | ~148.5 mm |
| Thickness | ~1.2 mm |
| Weight | ~10 g |

The Niigata Seiki TPG-700S is a versatile taper gauge combined with a straight ruler, engineered for quick and accurate measurement of slot widths, gaps, hole diameters, and lengths in metalworking, fabrication, and quality control applications. Compact, durable, and easy to carry with a pocket clip design, this stainless-steel gauge set ensures reliable measurements whether on the shop floor or in field inspections.

Key Features & Benefits

- Dual-Function Design – Includes both a taper gauge for measuring narrow gaps and a straight ruler for length or diameter checks in one convenient tool.

- High Precision – Taper gauge accuracy of ± 0.05 mm and ruler accuracy of ± 0.13 mm ensure dependable measurement results.

- Durable Construction – Made from hardened stainless steel (SUS420J2) with a satin finish for corrosion resistance and long tool life.

- Portable & Practical – Pocket-clip design and compact size make it easy to carry and use on the go.

- Wide Application – Ideal for measuring groove widths, component clearances, hole diameters, and simple length checks in mechanical, fabrication, and assembly work.

Specifications

| Specification | TPG-700S |
| --- | --- |
| Taper Gauge Range | 1 – 15 mm |
| Taper Gauge Accuracy | ± 0.05 mm |
| Taper Graduation | 0.1 mm |
| Taper Angle | 7° 9′ 10″ |
| Taper Gauge Length | 148.5 mm |
| Ruler Range | 0 – 130 mm |
| Ruler Accuracy | ± 0.13 mm |
| Ruler Graduation | 0.5 mm |
| Material | Hardened Stainless Steel (SUS420J2) |
| Finish | Satin silver finish |
| Weight | ~40 g |

The Niigata Seiki TPG-700B is a high-precision taper gauge designed for measuring gap widths, slot openings, hole diameters, and similar dimensional features in fabrication, machining, and quality control tasks. Constructed from hardened stainless steel with a satin finish, this durable gauge provides accurate readings with clear graduations for dependable inspection and adjustment work.

Key Features & Benefits

- Wide Measurement Range – Measures gaps, slots, and openings from 15 mm up to 30 mm, making it ideal for medium-sized features.

- High Accuracy – Precision etched graduations with ± 0.05 mm accuracy and 0.1 mm graduation for reliable and repeatable readings.

- Durable Stainless-Steel Construction – Made from hardened SUS420J2 stainless steel with a satin finish for corrosion resistance and long tool life.

- Consistent Taper Angle – Standardized 7° 9′ 10″ taper ensures consistent measurement performance across the range.

- Portable & Lightweight – Compact design makes it easy to carry and use on the shop floor or in the field.

Specifications

| Specification | TPG-700B |
| --- | --- |
| Measurement Range | 15 – 30 mm |
| Accuracy | ± 0.05 mm |
| Graduation | 0.1 mm |
| Taper Angle | 7° 9′ 10″ |
| Overall Length | 153 mm |
| Thickness | 1.2 mm |
| Material | Hardened Stainless Steel (SUS420J2), satin finish |
| Weight | ~40 g |

The SK Welding Gauge (WG-1) is a durable, stainless-steel inspection tool designed for efficient and accurate measurement of fillet welds and bead weld dimensions. Ideal for welding quality control in fabrication, construction, and inspection applications, this precision gauge helps ensure welds meet required standards with reliable repeatability.

Key Features & Benefits

- Accurate Fillet Weld Measurement — Quickly measures fillet weld throat thickness and bevel angle with reliable precision.

- Robust Construction — Made from high-quality stainless steel (SUS410) for long-lasting performance in shop or field environments.

- Portable & Easy to Use — Lightweight and compact with a handy vinyl case for storage and transport.

- Quality Control Tool — Helps welders and inspectors verify weld integrity and compliance with specifications.

Specifications

| Model | Measurement Accuracy (Throat Thickness) | Bevel Angle Accuracy | Overall Accuracy | Weight |
| --- | --- | --- | --- | --- |
| WG-1 (M) | ± 0.4 mm | ± 0.7° | ± 0.4 mm | ~79 g |

The SK Welding Gauge (WGU-7M) is a versatile stainless-steel measurement tool for inspecting various weld dimensions in fabrication and quality control. Designed to support a wide range of welding applications, this compact gauge allows welders and inspectors to quickly check fillet size, undercut depth, bevel/groove angles, and other critical weld features — helping ensure welds meet required standards for strength and quality.

Key Features & Benefits

- Multi-Function Measurement — Accurately measures fillet leg length, bead height, undercut depth, groove/bevel angle, and gap sizes with one tool.

- Durable Construction — Made from stainless steel for corrosion resistance and long service life in workshop environments.

- Easy to Read & Use — Clear scale markings on a single plane for quick, intuitive reference during inspections.

- Improves Quality Control — Supports consistent welding standards and helps identify dimensional issues early in fabrication.

- Compact & Portable — Lightweight design makes it convenient for field work or shop use.

Specifications

| Specification | Details |
| --- | --- |
| Measurement Range – Undercut Depth | 0–25 mm |
| Fillet Leg Length / Bead Height | 0–25 mm |
| Fillet Neck Thickness | 0–15 mm |
| Gap Measurement Range | 2–5 mm |
| Bevel/Groove Angle Range | 0–60° |
| Material | Stainless Steel (SUS410) |
| Weight Approx. | 150 g |

The Niigata Seiki WGU-2S Welding Gauge is a dedicated and easy-to-use inspection tool engineered for accurately measuring the depth and length of undercuts in welded joints. Its simple mechanical design and stainless-steel construction make it ideal for welding quality control in fabrication, construction, and maintenance work.

Key Features & Benefits

- Dedicated Undercut Measurement – Specifically designed to quickly and reliably measure undercut depth and length on weld beads.

- Threaded Undercut Probe with Zero Adjustment – Allows zero-point calibration for improved accuracy and repeatability.

- Stainless Steel Construction – Durable SUS410 body resists corrosion and wear for long service life on the shop floor.

- Simple & Fast Use – Clear graduations and straightforward design enable efficient inspection without complex setup.

- Portable & Compact – Lightweight design makes it easy to carry between workstations or job sites.

Specifications

| Specification | Details |
| --- | --- |
| Model | WGU-2S |
| Application | Undercut depth and length measurement |
| Material | Stainless Steel (SUS410) |
| Minimum Reading | 0.2 mm |
| Mass | ~100 g |
| Feature | Zero-point adjustment with threaded probe |

The SK Welding Gauge (WGU-8M) is a versatile stainless-steel measurement tool for inspecting various weld dimensions in fabrication and quality control. Designed to support a wide range of welding applications, this compact gauge allows welders and inspectors to quickly check fillet size, undercut depth, bevel/groove angles, and other critical weld features — helping ensure welds meet required standards for strength and quality.

Key Features & Benefits

- Multi-Function Measurement — Accurately measures fillet leg length, bead height, undercut depth, groove/bevel angle, and gap sizes with one tool.

- Durable Construction — Made from stainless steel for corrosion resistance and long service life in workshop environments.

- Easy to Read & Use — Clear scale markings on a single plane for quick, intuitive reference during inspections.

- Improves Quality Control — Supports consistent welding standards and helps identify dimensional issues early in fabrication.

- Compact & Portable — Lightweight design makes it convenient for field work or shop use.

Specifications

| Specification | Details |
| --- | --- |
| Measurement Range – Undercut Depth | 0–25 mm |
| Fillet Leg Length / Bead Height | 0–25 mm |
| Fillet Neck Thickness | 0–15 mm |
| Gap Measurement Range | 2–5 mm |
| Bevel/Groove Angle Range | 0–70° |
| Material | Stainless Steel (SUS410) |
| Weight Approx. | 190 g |